- Blood flow

  - Start at 50ml/min. if the systolic blood pressure is above 90mmHg, increase the flow by 10ml/min every 10 minutes until a maximum flow rate of 120 ml/min is reached.

  - If the systolic blood pressure is less than 90mmHg , please consult with the doctor.

- Pre Blood Flow (PBF)/Pre Blood Pump (PBP)

  - Prismocitrate 18/0 protocol

        - (Na+ 140, Cl- 86,citrate 18 mmol/L, 0K+, O citric acid)

  - Add Potassium 20mmol/5000cc if required

- Dialysate

  - PrismOcal

        - (Lactic acid 3, Mg++ 0.75,Hydrogen bicarbonate 22, Na++ 14, Ca++ 0, Cl- 120, K+ 4, glucose 6.1 mmol/L) .

    - 400 - 600ml/hour

    - Add Potassium 20mmol/5000cc if required

- Replacement

  - Hemosol

        - (Na+140,  Ca++ 1.75,  Mg++ 0.5, Cl─ 109,HCO3 32 , Lactate 3 mmol/L)

    - 400 - 600ml/hour

    - Add potassium 20mmol/5000cc if required

- Removal

  - Start removal at 70cc/hour. Increase removal by 20cc/hour each hour if the systolic blood pressure remains above 90mmHg (without increasing vasopressor dose) until the target removal determined by the doctor is achieved.

  - If the systolic blood pressure is less than 90mmHg, please consult the doctor.

- Anticoagulation

  - Calcium gluconate 10% according to the protocol.

------------------------------------------------------------------------------------------------------------

- Targeted effluent dose = 25ml/kg/hour

- Targeted removal – patient specific