Continuous Salbutamol via Aerogen

Salbutamol 0.5% = 5mg/ml solution (undiluted)

Prime syringe tubing with Salbutamol

בס"ד

Salbutamol = Ventolin = Albuterol

| 12.5mg | 11.25mg | 10mg | 8.75mg | 7.5mg | 6.25mg | 5mg | 3.75mg | 2.5mg | Dose (mg/hr) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 5mL | 4.5mL | 4mL | 3.5mL | 3mL | 2.5mL | 2mL | 1.5mL | 1mL | Infusion rate = Aerosal output Rate (mL/hour) |

Fill the special 60mL aerogen syringe with

20mL Salbutamol  0.5% + 20mL NaCl 0.9%  Salbutamol 0.25% = 2.5mg /mL

Infusion rate pump = Solo output = Desired Dose (mg/hour)

2.5mg/mL